# Flooding

Flooding can happen quickly and have serious impacts. Flooding may be caused by heavy rain, overflowing creeks and rivers and high tides or tsunamis in coastal and low-lying areas.

Floods within a building can also be caused by normal wear and tear failures of pipe joints, vandalism, or be the result of earthquakes.

|  | Response actions (as appropriate) |
| --- | --- |
| Flooding reported or sighted | Check source of the flood and that no staff or visitors are in danger |
|  | Evacuate if required (and get to higher ground) |
|  | If safe to do so, move records and equipment onto higher floors or onto furniture as high as possible |
|  | If flood is due to burst pipes etc, turn off the water at the mains if possible. |