# Gas leak

|  | Response actions (as appropriate) |
| --- | --- |
| If gas leak is suspected | Turn off the main valve - The main valve is located ___________________________________ |
|  | If possible and safe to do so open windows to allow the gas to dissipate. |
|  | Rescue any person in immediate danger but only if safe to do so. |
|  | Do not: - operate any electrical switches, including lights or alarms. - use cell phone in area where leak is occurring – even if outside of building - allow anyone to smoke in the vicinity |
|  | Warn others in the immediate area |
|  | Call emergency services (111) if required |
|  | Call our local gas company: Company: Ph: Our account number: |
|  | Consider evacuating the area. Do not re-enter building or outside area until cleared by authorised personnel |