# Volcanic eruption and ash fall

|  | Response actions (as appropriate) |
| --- | --- |
| When a volcano threatens | Listen to your radio or TV for advice and information |
|  | Contact your local Civil Defence Group for advice. |
|  | Check that staff know what to do. |
| Large eruption | Evacuation: If the site is in the path of potential lava flows, pyroclastic flows, surges or lahars be prepared to evacuate when asked to by controlling authorities (i.e. police, civil defence etc). |
| Ash Fall | Ensure that staff and visitors stay indoors. Have dust masks available. |
|  | Close windows and doors. In heavy ash falls, windows and doors may need additional sealing to avoid ash entering buildings. |
|  | Turn off air-conditioning units and any other equipment that draws in or blows air. |
|  | Protective clothing (especially if working in the ash fall) should be worn by anyone who has to work outside in an emergency and goggles used to protect the eyes. |
|  | Monitor the amount of ash on roofs. Roofs may collapse under the weight of ash causing injury to the occupants. Evacuate buildings which show signs of roof sagging. |
|  | Disconnect roof-fed water supply only when ash fall is occurring or during the clean up to stop ash entering the storage tanks. |
|  | If possible have l outdoor equipment, cars etc parked under-cover or cover them. |
| Cleaning up after an ash fall | The local council and CDEM group will provide advice on cleaning up and disposing of ash. |